## Solar system
Výpis zo solárneho regulátora.
File Name: | Solar system "Elektrokutil"
Date of Saving | 2019-12-13 16:53
Date of Reading | 13.12 2019
Location: | Svrčák
Charge Controller Identification: | Phocos CX20
Battery capacity: | 230Ah
PV Power: | 315W
Notice:
########## actual datas #################################
Battery State Of Charge in %: | 94
Battery Voltage in V: | 11.9
End of charge voltage: | 14.8
Load Current in % (from nominal current): | 13
PV Current in % (from nominal current): | 0
Excess energy (PV generator) in %: | 0
Temperature in Â°C: | 24
Hours Since Night Began: | 0
Night Length Last Night (in hours): | 12
Load On/Off | on
########## General Datalogger Data #################################
Number of low battery load disconnects: | 226
Number of weeks without fully charged battery: | 13
Number of months without fully charged battery: | 0
Average battery state in the mornings in %: | 47
Used PV Amperehours: | 0
Load Amperehours: | 0
Start Of Recording (Days): | 841
--------------------------------------DAYS----------------------------------------------------------------------------------------------------------------
Max Battery Voltage | 12,7 V | 13,8 V | 14,9 V | 14,3 V | 12,9 V | 14 V | 12,7 V
Min Battery Voltage | 11,8 V | 12 V | 11,8 V | 11,7 V | 11,8 V | 11,8 V | 11,8 V
Used PV Amperehours | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah
Load Amperehours | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah
PV Excess Amperehours | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah
Max Load Current in % (Nominal Current) | 20% | 13.33% | 13.33% | 13.33% | 6.67% | 13.33% | 13.33%
Max PV Current in % (Nominal Current) | 6.67% | 33.33% | 33.33% | 40% | 10% | 36.67% | 3.33%
State Of Battery Charge in % morning | 59% | 46% | 59% | 53% | 53% | 53% | 53%
State Of Battery Charge in % evening | 20% | 33% | 53% | 20% | 13% | 7% | 33%
Low Battery Load Disconnects | TRUE | FALSE | TRUE | TRUE | TRUE | TRUE | TRUE
Fully Charged Battery | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE
PV Overcurrent | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Load Overcurrent | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Battery Overvoltage | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
PV Overtemperature | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Load Overtemperature | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
--------------------------------------WEEKS----------------------------------------------------------------------------------------------------------------
Max Battery Voltage | 13,7 V | 13,7 V | 13,5 V | 14 V
Min Battery Voltage | 11,8 V | 11,9 V | 11,9 V | 11,9 V
Used PV Amperehours | 0 Ah | 0 Ah | 0 Ah | 0 Ah
Load Amperehours | 0 Ah | 0 Ah | 0 Ah | 0 Ah
PV Excess Amperehours | 0 Ah | 0 Ah | 0 Ah | 0 Ah
Max Load Current in % (Nominal Current) | 13.33% | 6.67% | 10% | 13.33%
Max PV Current in % (Nominal Current) | 23.33% | 20% | 20% | 26.67%
State Of Battery Charge in % morning | 46% | 40% | 46% | 33%
State Of Battery Charge in % evening | 20% | 40% | 26% | 40%
Low Battery Load Disconnects | TRUE | TRUE | TRUE | TRUE
Fully Charged Battery | TRUE | TRUE | TRUE | TRUE
PV Overcurrent | FALSE | FALSE | FALSE | FALSE
Load Overcurrent | FALSE | FALSE | FALSE | FALSE
Battery Overvoltage | FALSE | FALSE | FALSE | FALSE
PV Overtemperature | FALSE | FALSE | FALSE | FALSE
Load Overtemperature | FALSE | FALSE | FALSE | FALSE
--------------------------------------MONTHS----------------------------------------------------------------------------------------------------------------
Max Battery Voltage | 13,7 V | 13,9 V | 14,2 V | 14,3 V | 14,2 V | 14,2 V | 14,3 V | 14,3 V | 13,9 V | 14,3 V | 13,8 V | 14 V
Min Battery Voltage | 11,8 V | 12 V | 12,2 V | 12,2 V | 12,1 V | 12 V | 12,1 V | 12,1 V | 11,9 V | 12 V | 12 V | 11,9 V
Used PV Amperehours | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah
Load Amperehours | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah
PV Excess Amperehours | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah | 0 Ah
Max Load Current in % (Nominal Current) | 10% | 10% | 10% | 6.67% | 6.67% | 3.33% | 3.33% | 6.67% | 6.67% | 6.67% | 6.67% | 6.67%
Max PV Current in % (Nominal Current) | 20% | 23.33% | 33.33% | 36.67% | 33.33% | 36.67% | 36.67% | 36.67% | 30% | 36.67% | 26.67% | 30%
State Of Battery Charge in % morning | 40% | 40% | 46% | 53% | 46% | 40% | 40% | 40% | 33% | 40% | 40% | 33%
State Of Battery Charge in % evening | 26% | 46% | 53% | 46% | 40% | 40% | 46% | 40% | 26% | 40% | 40% | 40%
Low Battery Load Disconnects | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
Fully Charged Battery | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE | TRUE
PV Overcurrent | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Load Overcurrent | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Battery Overvoltage | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
PV Overtemperature | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Load Overtemperature | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE